- IHE Technical Framework Change Proposal

- Tracking information:

| IHE Technical Framework Domain | IT Infrastructure |
| --- | --- |
| Change Proposal Number (assigned by Domain Technical Committee) | 179 |
| Change Proposal Status: | Approved |
| Date of last update: | Oct 20 2006 |
| Person assigned: | John Moehrke |

- Change Proposal Summary information:

| ATNA query results |  |
| --- | --- |
| Submitter’s Name(s) and e-mail address(es): | John.Moehrke@med.ge.com |
| Submission Date: | 2006-06-08 |
| Integration Profile affected: | ATNA |
| Version of IHE Technical Framework: | Revision 2.0 Final text |
| Volume(s) and Section(s) affected: | Volume 2: Section 3.20 |
| In Radiology Basic Security Profile there was a comment about worklist auditing as needing only include the query and not the results. ATNA doesn’t have any comment like this. I am not sure if this is a Vol 1 or Vol 2 requirement. |  |

Add the following text to Table 3.20.6-1. Audit Record trigger events

| Query Information | A query has been received, either as part of an IHE transaction, or as part other products functions. For example: 1. Modality Worklist Query 2. Instance or Image Availability Query 3. PIX, PDQ, or XDS Query Notes: The general guideance is to log the query event with the query parameters and not the result of the query. The result of a query may be very large and is likely to be of limited value vs the overhead. The query parameters can be used effectively to detect bad behavor and the expectation is that given the query parameters the result could be regenerated if necessary. | DICOM (Sup 95) “Query” |
| --- | --- | --- |